## Slide 1: WP5 – meeting
Ariel Oleksiak, Marcin Adamski, Franciszek Sidorski, Tomasz Ciesielczyk
PSNC
23 September 2025

## Slide 2: WP5 – agenda
  WP5 work plan, status
    T5.1 - status
      „InterConnect DSO interface + Intoduction to the Knowledge Engine” (presentation by Youssef)
      Knowledge Engine in Enea Operator pilot
    T5.2 - status
    T5.3 – status
      „Provision of Flexibility Trade-off Services and Frameworks” (presentation by Franek)

## Slide 3: WP5 - Timing & Efforts
 | Leader | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36
T5.1 – Implementation of standardized flexibility frameworks and interfaces | Inetum |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
T5.2 – Standardization of proprietary flexibility frameworks and interfaces and comparative analysis | EK |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
T5.3 – BlueBird Flexibility Trading module | PSNC |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
D5.1
D5.2
Partner | Effort (MM)
Inetum | 12
CIMNE | 9
UPC | 0
WeSmart | 4
imec | 5
PSNC | 17
Partner | Effort (MM)
SEEBG | 0
Karno | 4
ENEA | 4
DTU | 10
AMB | 3
AIT | 0
Partner | Effort (MM)
USTUTT | 0
TERSA | 3
BPIE | 0
ENK | 7
EWH | 4

## Slide 4: WP5 – Work Plan - T5.1
Name: implementation of standardized flexibility frameworks and interfaces.
functionality described in the proposal:
  Create or use/implement the interface to energy markets (for pilots that do not yet have a connection to energy markets?)
    DSO Standard Interface (from Interconnect),
    USEF,
    Interflex
    Web scraping -> in same cases
Leader: Inetum
  Participants: CIMNE, WeSmart, PSNC, Karno Energy, ENEA, AMB, TERSA, EK, EWH

## Slide 5: InterConnect DSO interface + Intoduction to the Knowledge Engine
Youssef Dahman Inetum - BE

## Slide 6: Short self-Introduction – Youssef Dahman
I’m 28 years old
Software Developer at Inetum Belgium since 2021
Major Projects:
  InterConnect (2 years): Contributed to an EU-funded smart energy pilot in Greece. Developed microservices for IoT-based peak shaving, demand response, and load forecasting. Led partner collaboration, AKS deployment, and end-to-end testing across partner integrations.
  CV comparator: Designed and deployed an AI-driven platform that analyzes CVs against job requirements, providing recruiters with compatibility scores and skill gap insights.
  Employee Assignment Review: Digitized annual performance reviews by building a secure, multilingual web application with Keycloak authentication, Angular frontend, and automated evaluation workflows.

## Slide 7: Short Introduction of InterConnect – Greek pilot
Core Mission: Create seamless interoperability between energy grid operators, smart home devices, and residential consumers to optimize demand response and energy efficiency.
Reactive DR: An immediate emergency response system that kicks in when the electrical grid is currently experiencing problems ( Too much demand ). They have direct control on devices based on preset prefrences made by the end user for a certain time using our demand response solution.
Proactive DR: A predictive planning system that prevents grid problems before they occur by recommending tomorrow's energy actions to users. The DSO asks for a forecast of power consumption for a certain region or district and based on that forecast they define when it more profitable for the user to use their devices.

## Slide 8: InterConnect DSO interface

## Slide 9: What is Knowledge Engine?
The knowledge engine is a platform through which services can communicate with each other. The way they do this is special; clients don't specify who they want their requests to be sent to. They only specify the "shape" (interface) of the data they can send or receive to the knowledge engine, and the platform calculates who the request should be sent to.
The way the interface is provided is in the RDF format (sort of like XML). This format has to fit within an "ontology" that is provided to the knowledge engine. SAREF is the ontology that was developed in Interconnect
This way, all services that connect with knowledge engine are speaking the same "language".
This makes a few points possible:
- Knowledge engine can automatically identify and make links between services without any additional work. - Easy onboarding for new stakeholders, they just need to translate their data to the ontology and connect their service to knowledge engine.

## Slide 10: Knowledge Engine introduction

## Slide 11: Knowledge Engine interactions
The Knowledge Engine supports 4 types of interaction:
  Ask: Request knowledge
  Answer: Provide results
  Post: Insert or update data
  React: Respond to changes

## Slide 12: RDF Graph pattern & SAREF Ontology
The example illustrates how IoT devices are linked to SAREF classes using RDF, enabling interoperability across platforms and standardized data exchange.

## Slide 13: Thank you!

## Slide 14
Knowledge Engine in ENEA Operator pilot
BlueBird
Knowledge Engine (KE)
Trading Manager (TM)
Flexibility evaluation
POST – power baseline , available flexibility , flexibility offer
REACT – subscribe to capacity market (waiting for requests)
KE register
ENEA Grid Server
Knowledge Engine interface (python)
KE REST
Capacity market
Flexibility
TM REST
Power Demand
ENEA Grid facility 1
ENEA Grid facility n
ENEA Grid facility …
Market API
Knowledge Engine interface (python)
KE register
KE REST
REACT – read flexibility offers,
POST – publish market demand
Negotiation

## Slide 15: WP5 – Work Plan - T5.2
Name: standardization of proprietary flexibility frameworks and interfaces and comparative analysis
functionality described in the proposal:
  the standardization of existing flexibility frameworks and communication interfaces based on the BlueBird data model (for pilots which already have connection to energy market?),
  compare analysis between frameworks (also to delivered by T5.1).
Leader: EK
Participants: CIMNE, imec, PSNC

## Slide 16: WP5 – Work Plan - T5.3
Name: Trading module
functionality described in the proposal:
  the negotiation capabilities between the UBFlex Interface and the towards-the-grid flexibility
Leader: PSNC
Participants: Inetum, DTU
Current works:
  next concepts of communication between TM and FM
  Using Knowladge Engine in Enea pilot (how to connect to TM)
  Provision of Flexibility Trade-off Services and Frameworks

## Slide 17: WP5 – first proposition
Trading manager
ToU market
Capacity market
Intraday optimization market
Flexibility manager
Selected option
T.5.3
T.5.1
for pilots that do not yet have a connection to energy markets
T.5.2
for pilots which already have a connection to energy markets

## Slide 18: WP5 – next proposition
Trading manager
ToU market
Capacity market
Intraday optimization market
Flexibility manager
Selected option
T.5.3
T.5.1
for pilots that do not yet have a connection to energy markets
T.5.2
for pilots which already have a connection to energy markets
Time unit | Option | Production | Consumption | Add cost
8:00-9:00 | min | 500 | 100 | cost_function
 | max | 900 | 150 | 
9:00-10:00 | min | 600 | 100 | cost_function
 | max | 900 | 200 | 
10:00-11:00 | min | 700 | 100 | cost_function
 | max | 900 | 300 | 
Time unit | Option | Production | Consumption | Add cost
8:00-9:00 |  | 500 | 100 | 300
9:00-10:00 |  | 900 | 200 | 400
10:00-11:00 |  | 900 | 100 | 500

## Slide 19: WP5 – third proposition
Trading manager
(quantization
proccess depends on market)
ToU market
Capacity market
Intraday optimization market
Flexibility manager
Selected option
T.5.3
T.5.1
for pilots that do not yet have a connection to energy markets
T.5.2
for pilots which already have a connection to energy markets
Time unit | Production | Consumption | Add cost
8:00-16:00 | production function | consumption function | additional cost function
Time unit | Production | Consumption | Add cost
8:00-9:00 | 500 | 100 | 300
9:00-10:00 | 900 | 200 | 400
10:00-11:00 | 900 | 100 | 500
11:00-12:00 | 500 | 100 | 300
12:00-13:00 | 900 | 200 | 400
13:00-14:00 | 900 | 100 | 500
14:00-15:00 | 500 | 100 | 300
15:00-16:00 | 900 | 200 | 400

## Slide 20: Explicit vs implicit distribution flexibility
WP5 Meeting, 23.09.2025​
Source: https://www.usef.energy/app/uploads/2021/05/USEF-The-Framework-Explained-update-2021.pdf

## Slide 21: Markets indicated by pilots for trading manager - summary
WP5 Meeting, 23.09.2025​
Implicit distribution flexibility
  ToU optimization
    AMB
    WeSmart (with test of Interconnect DSO interface)
    EWH

## Slide 22: Markets indicated by pilots for trading manager - summary
WP5 Meeting, 23.09.2025​
Explicit distribution flexibility
  Day-ahead optimization
    WeSmart
    ENK Enlion
  Intraday optimization
    AMB (2 intraday markets)
    ENK Enlion
  Grid capacity management
    AMB
    Enea Operator Grid

## Slide 23: Thank you! Any questions?